Intelligent Communication Systems India Ltd. (ICSIL)

(Joint Venture of TCIL – A Govt. of India Enterprise & DSIIDC – An Undertaking of Delhi Govt.)

Administrative Building, 1st Floor, Above Post Office, Okhla Indl. Estate, Ph.-III, New Delhi -110020

Phone : 26929051, 26830338, Fax: 26830347, e-mail: info@icsil.in,  www.icsil.in

TENDER NO: F.1 (ICSIL)/01/213/CATS/2012-13, Dated: 22.10.2012

- Sealed quotations from O.E.M/business partner of O.E.M/authorized vendor of O.E.M, are invited for the items mentioned herein in the tender documents (Annexure-A), for supply to Delhi Government Departments on Emergency basis. The tender timeline are as under:

- Tender time lines are as under:

| Sl. No | Description of activities | Tender Time-lines |
| --- | --- | --- |
| 1 | Last date for submission of Sealed Quotations | Nov.12, 2012 by 2:30 PM |
| 2 | Date and Time of opening of Technical Bid | Nov. 12, 2012 by 4:00 PM |
| 3 | Date and Time of opening of Commercial Bid | Nov. 13, 2012 by 2:30 PM |

- Tender Processing Fee & EMD: The firm should furnish a refundable Earnest Money Deposit “EMD” of Rs. 1, 50,000/- only (Rs. One Lakh and Fifty Thousand Only) and Tender Processing Fee (Non-refundable) of Rs. 5000/- (Rs. Five Thousand only) in the form of Demand Draft in favour of ICSIL, Delhi, valid for a period of six months. The EMD and the Tender Processing Fee should be placed in a sealed cover and should be marked as “EMD & Tender Processing Fee.”

- Eligibility Criteria:

- The bidder should be registered with VAT Department. Copy of valid VAT Registration Certification must be submitted in the Technical Bid.

- The bidder should have Income Tax PAN in its firm name and copy of the same must be enclosed in the Technical Bid.

- A self-certificate that the bidder has not been black listed by any department of the Central/State government in the past three years, is to be submitted in the Technical Bid.

- The bidder should be either an OEM or Business Partner/ authorized vendor of OEM. Please submit proof of being a Business Partner/ Authorized Vendor of OEM.

- An undertaking by the bidder that the Rates quoted by their firm, are not higher than the rates quoted by their firm to any other Government Department/PSU/ in past one year and if at any time, it is found less than that of the rates quoted in ICSIL, The difference shall have to be borne by the bidder. A certificate to this effect should be submitted by the bidder. In addition to this, ICSIL will be free to take any further action as deemed fit.

- Work Experience: The firm must have executed minimum two similar work orders, delivery, installation, and execution in any of the Government organization/PSU/Autonomous Bodies in Delhi. Please attach proof for such execution of work with work order etc.

- Technical Bid if not accompanied by desired Fee and documents, the same would be rejected summarily. Request for subsequent submission of any of the above documents will not be entertained. However, ICSIL reserves the right to seek fresh set of documents or seek clarifications on the already / submitted documents.

Submission Of Bids/Tender Documents:

The sealed tenders should be submitted with superscription

“TENDER NO: F.1 (ICSIL)/01/213/CAT/2012-13, Dated: 22.10.2012” and submitted to:

Managing Director

INTELLIGENT COMMUNICATION SYSTEMS INDIA LIMITEDICSIL) 
ADMINISTRATIVE Building, 1ST FLOOR,
ABOVE POST OFFICE, 
OKHLA INDUSTRIAL AREA, PHASE-III, 
NEW DELHI-110 020.
TELEPHONE: 26830338, 26830347.
FAX: 26929051.
E-MAIL:  info@icsil.in

- Cover-1: Technical Bid:

1. In preparing the Technical Proposal, the bidder should fulfill all the aspects of the Terms of eligibility criteria (as per Clause No. 4) before submitting the bids. The envelope should be sealed and superscripted “Technical Bid for Setup of Control Room.”

B. Cover-2: Financial Bid:

- In preparing of Financial Proposal firms are expected to take into account all requirements and condition of our RFP Document. The financial proposal should be as per Commercial Bid Format as given in “Annexure A” i.e. Commercial Bid Format.

- The envelope should be sealed and superscripted “Financial Bid for Setup of control room”.  The financial bids of technically qualified bidders only shall be opened.

- The above two envelopes shall be placed in an outer cover superscripted “ICSIL Tender for Desktops, Printers and UPSs”. The outer covers shall be submitted to the office of Managing Director, ICSIL on or before the due date and time for consideration of the bid.

- Late and incomplete bids shall not be entertained and rejected.

- The rates should be quoted as per format given in “Annexure – B”.

- Payment Terms

- No advance payment shall be made.

- Payment equal to 80% of the total work order shall be released on back to back basis and that too after complete delivery and installation of all items duly certified by the client department.   Balance 20% shall be released on back to back basis i.e. after receipt of payment from the client.

- Bill for release of payment should be submitted in triplicate along with satisfactory completion certificate from the client department for the activity/Task for which the bill is being raised. In the absence of satisfactory completion certificate, the bill for payment shall not be processed and released.

- Penalties:

For delays in execution of work, beyond two weeks from the date of issue of work order shall carry a penalty of Rs.1000/- (Rupees One Thousand Only) per week delay with a cap of Rs.60, 000/- (Rupees Fifty Thousand only).

- Validity Of Tender:

The Tender is valid for a period of 6 months (i.e. 120 days) from the last date of submission of the bid.  The validity time may be extended by ICSIL.

- Validity of Rates: The quoted rates in the tender shall be valid for a period of 6 month from the date of issue of work order.

- MAF: - Bidder should submit the MANUFACTURER AUTHORIZATION FORM (MAF) from the OEM, if bidding other than OEM.

- ICSIL reserves the right to cancel/ terminate the tender at any stage without assigning any reason.

“Annexure – A”

Items required for Procurement – “Annexure-A”

| S no. | Description | Specifications | Unit | Quantity Required | Make, Model |
| --- | --- | --- | --- | --- | --- |
| 1 | CTI Server | 2U rack mountable Server, Intel Quad core Dual Xeon processor-E5640, 2.66Ghz,12MBL3, 8GBRam, RAID5, 500GB 84 Hot swap HDD ,DVD combo drive, MS2008 Std Operation system with 10CAL ,MS SQL Server std with 5 CAL, Antivirus | No’s | 1 | Make : Aastra Model :Sec ver 7.0 |
| 2 | Data Base & Application Server | 2U rack mountable Server, Intel Quadcore Dual Xeon process-E5640, 2.66Ghz, 12MBL3, 8GBRAM, RAID5 ,500GB84 Hotswap HDD, DVD Combo Drive, MS 2008 std Operation system with 10 CAL, MS SQL Server Std with 5 CAL, Antivius, USB HDD 1 TB - 02 No. | No’s | 1 | Make : HCL Model : HCL IGL 2700 BC |
| 3 | KVM Switch Monitor KBD | 4 Server switcher console with foldable KBD and LCD, USB Mouse | No’s | 1 | Make : ATEN Model:CL1008M |
| 4 | EPABX Accessories for Aastra MX One | Headset - Battery Back up | No’s | 1 | Make : Plantronics Make :Exide |
| 5 | Call Centre Suite | Aastra Solidus e Care -10 Call taker with DDE COM - 8 Port IP IVRS for announcement - 8 Port Script for Call flow -1 Config Manger -1 Report Manager -1 Information Manager | No’s | 1 | Make : Aastra Model :Sec ver 7.0 |
| 6 | UPS | 10 KVA with 1 hour back up, N + 1 redundancy | No’s | 1 | Make : Uniline Model : Maxipower |
| 7 | Rack | 42 U Rack with 10 nos. 5A power distribution module, Cooling FAN, Jack panel, Patch cords | No’s | 1 | Make : VALRACK standard 19 " rack |
| 8 | Data Switches | 16 Port, Manageable L 2 switch | No’s | 1 | Make : Alliedtelesis Model : AT8000S/16 |
| 9 | Data Switches | 32 Port, Manageable L 2 switch | No’s | 1 | Make : Alliedtelesis Model : AT8000S/16 |
| 10 | Voice Logger | 5 U rack mountable Server, Intel Quad core single/ Dual Xeon processor - E5640, 2.66 GHz, 12 MB L3, *GB RAM, RAID 5, 500GB*4 Hot swap HDD, DVD Combo Drive, MS 2008 Std Operation system with 5 CAL, Antivirus | No’s | 1 | Make : HCL Model : HCL IGL 2701 BC |
|  |  | 12 Port Digital voice recording card and 12 Port Voice recording software |  |  | Make : CUBE Model : Callisto |
| 11 | Antivirus (Server client) 15 users with 1 year subscription |  | No’s | 1 | McAfee |
| 12 | TFT Monitor |  | No’s | 5 | Samsung |
| 13 | LAN Card |  | No’s | 5 | Standard |

Commercial Bid – “Annexure-B”

Bidders should quote prices as per following commercial bid format with name of the items to be supplied.

Commercial Bid Format

| S no. | Description | Specifications | Unit | Quantity Required | Make, Model | Rates |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | CTI Server | 2U rack mountable Server, Intel Quad core Dual Xeon processor-E5640, 2.66Ghz,12MBL3, 8GBRam, RAID5, 500GB 84 Hot swap HDD ,DVD combo drive, MS2008 Std Operation system with 10CAL ,MS SQL Server std with 5 CAL, Antivirus | No’s | 1 | Make : Aastra Model :Sec ver 7.0 |  |
| 2 | Data Base & Application Server | 2U rack mountable Server, Intel Quadcore Dual Xeon process-E5640, 2.66Ghz, 12MBL3, 8GBRAM, RAID5 ,500GB84 Hotswap HDD, DVD Combo Drive, MS 2008 std Operation system with 10 CAL, MS SQL Server Std with 5 CAL, Antivius, USB HDD 1 TB - 02 No. | No’s | 1 | Make : HCL Model : HCL IGL 2700 BC |  |
| 3 | KVM Switch Monitor KBD | 4 Server switcher console with foldable KBD and LCD, USB Mouse | No’s | 1 | Make : ATEN Model:CL1008M |  |
| 4 | EPABX Accessories for Aastra MX One | Headset - Battery Back up | No’s | 1 | Make : Plantronics Make :Exide |  |
| 5 | Call Centre Suite | Aastra Solidus e Care -10 Call taker with DDE COM - 8 Port IP IVRS for announcement - 8 Port Script for Call flow -1 Config Manger -1 Report Manager -1 Information Manager | No’s | 1 | Make : Aastra Model :Sec ver 7.0 |  |
| 6 | UPS | 10 KVA with 1 hour back up, N + 1 redundancy | No’s | 1 | Make : Uniline Model : Maxipower |  |
| 7 | Rack | 42 U Rack with 10 nos. 5A power distribution module, Cooling FAN, Jack panel, Patch cords | No’s | 1 | Make : VALRACK standard 19 " rack |  |
| 8 | Data Switches | 16 Port, Manageable L 2 switch | No’s | 1 | Make : Alliedtelesis Model : AT8000S/16 |  |
| 9 | Data Switches | 32 Port, Manageable L 2 switch | No’s | 1 | Make : Alliedtelesis Model : AT8000S/16 |  |
| 10 | Voice Logger | 5 U rack mountable Server, Intel Quad core single/ Dual Xeon processor - E5640, 2.66 GHz, 12 MB L3, *GB RAM, RAID 5, 500GB*4 Hot swap HDD, DVD Combo Drive, MS 2008 Std Operation system with 5 CAL, Antivirus | No’s | 1 | Make : HCL Model : HCL IGL 2701 BC |  |
|  |  | 12 Port Digital voice recording card and 12 Port Voice recording software |  |  | Make : CUBE Model : Callisto |  |
| 11 | Antivirus (Server client) 15 users with 1 year subscription |  | No’s | 1 | McAfee |  |
| 12 | TFT Monitor |  | No’s | 5 | Samsung |  |
| 13 | LAN Card |  | No’s | 5 | Standard |  |

Note: Rates should be inclusive of all taxes, duties, levies etc.

11. Delivery Period: 2-3 weeks from the date of the issue of the Purchase Order.

12. Other Conditions:

Rates should be quoted as per the format of commercial bid.

Rates should not be quoted in the Technical Bid.

Goods shall have to be delivered within a period of 1 weeks’ time.

Supply of goods shall have to be made directly to the department’s site, the detail of which shall be provided at the time of grant of work / purchase order.

13. If, any bid is found to have not complied with above criteria and Terms & Conditions etc., that bid shall be summarily rejected.