TENDER No: - F.1 (ICSIL)/HW /2012-13/Tender No. 161   dated 07 June 2012

Sealed quotations from Original Equipment Manufacturers (OEM) / Authorized Business Partners of OEMs of various make are invited as per the make / specifications given in the tender document for supply , installation  and commissioning at different location of Government departments located in Delhi . The tender time lines are as under.

- Last date of submission of Sealed Quotations   : - On or before 11th June 2012 by 2:00 P.M.  in the office of Dy. General Manager, Ist Floor,  ICSIL ‘s office , Administrative Building , Okhla – Phase- III ,Behind Modi Mill , New Delhi- 110020

- Date and Time of opening of Sealed Quotations:- 11th June  2012  by 2:30 P.M

Interested bidders may quote the rates as per the format given in the Tender document.

Items:

| Sl. No. | Types of batteries |  | Qty. (Nos.) | Total |
| --- | --- | --- | --- | --- |
| 1. | 42 AH |  | 16 | 226 |
| 2. | 42 AH |  | 16 |  |
| 3. | 42 AH |  | 16 |  |
| 4. | 42 AH |  | 16 |  |
| 5. | 42 AH |  | 16 |  |
| 6. | 42 AH |  | 16 |  |
| 7. | 42 AH |  | 18 |  |
| 8. | 42 AH |  | 16 |  |
| 9. | 42 AH |  | 16 |  |
| 10. | 42 AH |  | 16 |  |
| 11. | 42 AH |  | 16 |  |
| 12. | 42 AH |  | 16 |  |
| 13. | 42 AH |  | 16 |  |
| 14. | 42 AH |  | 16 |  |
| 15. | 28 AH |  | 9 | 28 |
| 16. | 28 AH |  | 9 |  |
| 17. | 28 AH |  | 10 |  |
| 18. | 26 AH |  | 17 | 34 |
| 19. | 26 AH |  | 17 |  |
| 20. | 65 AH |  | 17 | 17 |
| 21. | 100 AH |  | 20 | 20 |
| GRAND TOTAL | 325 |

Table: 2 (Battery Specification)

| S.No. | PARAMETERS | SPECIFICATIONS |
| --- | --- | --- |
| 1. | Battery Type | Sealed Maintenance Free (VRLA) |
| 2. | Battery Make | Any good National or International brand complying with JIS C 8702... |
| 3. | Battery recharge time or charger capacity | After complete discharge to 100% charge() |
| 4. | Battery recharge time should not exceed 8 hours and charger should be capable to Charge battery on C10 rating. |
| 5. | Battery Cut off voltage during backup Not less than 1.75V/cell |

General Conditions:

RATES & TAXES-------Rates quoted must be inclusive of all taxes, duties, levies, cess, fee/s, service Tax Transport / Delivery /Installation Charges etc., and no increase in price shall be allowed subsequent to award of work / purchase order under any circumstances.

SERVICE TAX REGISTRATION -------- Service Tax registration is mandatory.  Please attach proof of valid Service Tax Registration Certificate.

DVAT REGISTRATION------- DVAT Registration is mandatory.  Please attach proof of valid DVAT Registration Certificate.

WORK EXPERIENCE---------The firm must have done minimum two similar works of Delivery, Installation, execution in any of the Government organization/PSU/Autonomous Bodies in Delhi.  Please attach proof of award of work.

DELIVERY-----Goods shall have to be delivered within 2 weeks from the date of ICSIL.

PAYMENT  ---- Payment of  80% on back to back basis , after delivery ,installation of all items and  after submission of INVOICE , DELIVERY CHALLANS , INSTALLATION REPORTS  to  ICSIL duly certified by the client department.

INSPECTION----- Post delivery inspection may be carried out by ICSIL, if required.

SUPPLY-------Supply of goods shall have to be made directly to the department, on site, the detail of which shall be provided at the time of grant of work / purchase order.

EMD:	EMD of Rs.20000/- drawn in favour of ICSIL must be submitted in the form of Pay Order / Bank Draft payable at New Delhi

ICSIL reserves the right to cancel/ terminate the tender at any stage without assigning any reason